## Slide 2: Experiment Setup
CVV
Reaction Mixture
Benchtop NMR
Online GPC
Sample loop
Waste/collect
*
*
15 sec/spectra
Dilution (HPLC) pump
Vdead1
Vdead2
Vdead3

## Slide 3
Reaction Mixture
Benchtop NMR
Vdead1
Vreactor

## Slide 4
Step 3
Step 1
Step 4
Step 2
Stabilisation
Change Flowrate
Measuring during
Stabilisation
Data collection

## Slide 8
Instruction 1
1
Instruction 2
2
Instruction 3
3
Instruction 4
4

## Slide 9
Spinsolve
Instruction 1
1
Spinsolve
Instruction 2
2
Instruction 3
3
Instruction 4
4

## Slide 10
3
If possible,
set integrations
1H
RM
Click ‘Show’ to confirm integrations
‘Start’ after stabilisation!
4